Mandate to Work

HSE Construction Division, Plan of Work 2014/2015. Extract from Foreword:

“ We will be looking ‘beyond  the site gate’, examining how  other duty holders such as designers and clients have,  and can, influence health and safety standards  on site.”

Introduction

This Mandate to Work procedure has been developed in order to help satisfy the requirements of CDM 2015 for a health and safety file and pre-construction phase health and safety plan, and to generally contribute to basic good practice in the management of maintenance and construction activity.

The Mandate to Work is intended to act as an aide memoir for those managing maintenance activity and project of all sizes. Maintenance activity and small projects historically did not have all the information collated in a single file as would have occurred for larger projects, hence the development of this document which also improves general control of contractor practices.

A Mandate to Work form is completed for all jobs regardless of size or value where construction, building or maintenance work is required and is issued when the risk assessments and method statements have been provided, reviewed and are acceptable.

The reference number in the top tight hand corner is used to link the Mandate to Work to a specific job number or a unique Permit to Work number.

Note: Questions 1 – 15 on the Mandate to Work form (attached below) are required for preconstruction projects only.

| Risk Assessment & Method Statement / Pre-construction Client check list. Yes; No; N/A. Pre-construction (Projects ONLY). 1; Are you clear about your responsibilities?. 2; Have you made your formal appointments?. 3; Have you checked that the principal designer or designer has the capability and necessary skills, knowledge, training and experience to fulfil their duties?. 4; Have you checked that the project team is adequately resourced?. 5; Has a project or client brief been issued to the project team?. 6; Has the project team been provided with information about the existing site or structure (pre-construction information, inc EMS Contractor Code of Practice)?. 7; Has project-specific health and safety advice been sought?. 8; Are suitable arrangements in place to manage health and safety throughout the project?. 9; Has a schedule of the key activities for the project been produced?. 10; Has sufficient time been allowed to complete the key activities?. 11; Where required, has an F10 notification form been submitted to the HSE?. 12; Have you checked that a construction phase plan has been adequately developed before work starts on site?. 13; Are you satisfied that suitable welfare facilities have been provided before work starts on site?. 14; Have you agreed the format and content of the health and safety file?. 15; Site waste management plan (projects over £300K). General Information (Works and Projects). 16; Work adequately described. 17; Location of the work defined; building, areas, plant / switch rooms. 18; Sequence of tasks adequately described within Method Statements. 19; Commencement date & expected duration provided. Special Considerations. 20; Segregation of works area from Students, Staff and Public. 21; Signs & signage adequately addressed. 22; Manual handling / lifting operations. 23; Falls from height. 24; Collapse of structures. 25; Electricity or other hidden services. 26; COSHH adequately addressed. 27; Access / egress, delivery routes materials storage area identified. 28; Environmental controls / waste disposal described pollution risks (i.e. noise, dust, asbestos) are adequately controlled. Dust controlled so as not to trigger fire alarm systems.. 29; Personal Protection Equipment specified. 30; Emergency arrangements (e.g. first aid, rescue) described. 31; Temporary arrangements (e.g. fire, traffic routes, and services) adequately described?. 32; Fire consideration – all jobs. Where access may need to be blocked, suitable arrangements will need to be agreed with the University’s Fire Safety Officers. Information Centre and Security informed?. 33; Arrangements for compartmentation to be left in a condition that acts as a barrier to prevent fire and smoke spread?. Resources required to undertake the works. 34; Details of plant / equipment / materials/ statutory examination reports. 35; Certificates of competence / experience of personnel provided / CSCS cards / inductions. 36; Key personnel identified, operatives names. Supervision. 37; Supervisor identified. 38; Monitoring arrangements outlined. 39; Statement confirming operatives briefed on Method Statements and will retain copy. Risk Assessment Details. 40; All Identifiable hazards included in the R/A. 41; Those affected plus likely consequences included in the R/A. 42; Control measures recorded are appropriate and the hierarchy of control principles have been considered. Additional requirements (as applicable). 43; Out of hours justification. 44; Site wide notification required. | A) Identified Hazard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Excavations |  |  | Working on Live Electricity |  |  |  |  | Entry into Plant Room/Service riser |  |  |  |  |  |  |  | Fire alarms |  |
|  | Radiation |  |  | Hot Works Outside Workshop |  |  |  |  | Breaking into Pipelines/Plant |  |  |  |  |  |  |  | Entry into confined spaces |  |
|  | Roof work |  |  | Work on Moving Machinery |  |  |  |  | Tree felling |  |  |  |  |  |  |  | Under Podia Tray |  |
|  | Other (Specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Biological Sciences Laboratories |  |
|  | NB: Work on any of the above requires a separate Permit to work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | B) Site Name & Location of the Works University of Essex Colchester Campus Building Level Room |  |  |  |  |  |  |  |  | C) Name of Principle Contractor/ Contractor/Company Name Address Line 1 Address Line 2 Post Code Tel: |  |  |  |  |  |  |  |  |
|  | D) University of Essex Customer, Client Project Officer |  |  |  |  | Contact Number(s) |  |  |  | E) Contractor/Company “Contractor”, Manager/Supervisor |  |  |  |  |  |  | Contact Number(s) |  |
|  | F) Brief Description of Works to be carried out |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | G) Frequency of site meetings/EMS and Contractor liaison arrangement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | H) Asbestos (Yellow Enquiry Form) |  |  |  |  |  | Submitted by |  |  |  |  |  |  |  |  |  | Date |  |
|  | EMS/ Asbestos |  |  |  |  |  | Response received |  |  |  |  |  |  |  |  |  | Date |  |
|  | I) Risk Assessments and Method Statements: |  |  |  |  |  |  |  |  |  | Received: YES No |  |  |  |  |  |  |  |
|  | Mandated Work Risk Assessments & Method Statement Check List (Left) completed |  |  |  |  |  | YES No |  |  |  | Risk Assessments & Method Statements Reviewed/Approved |  |  |  |  |  |  | YES No |
|  | Risk Assessment & Method Statements Ref No’s |  |  |  |  |  |  |  |  |  |  |  | Location Stored/Held |  |  |  |  |  |
|  | Approved by The Authorised Person |  |  |  | Print Name: |  |  |  |  |  |  |  | Signature |  |  |  |  |  |
|  | Copy of approved Risk Assessments and Method Statements to be attached to the issued permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | J) Isolations/precautions (Authorised Person (s)) Isolations Certificate No NB: Print name and Sign only when isolations/safety precautions have been checked |  |  |  |  |  |  |  | Print Name |  |  |  |  |  |  | Signature |  |  |
|  | K) Mandate Validity |  | Authorised Person |  |  |  |  | Print Name |  |  |  |  |  |  | Signature |  |  |  |
|  | From: |  |  |  |  |  |  | Time: |  |  |  |  |  |  | Date: |  |  |  |
|  | To: |  |  |  |  |  |  | Time: |  |  |  |  |  |  | Date: |  |  |  |
|  | L) Mandate Acceptance: I have read and understood this Mandate and will perform the work as specified. I have read and understood the Risk Assessments and Method Statements for these works and will apply personal isolation equipment and Safe Systems Of Work (as specified). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mandate Acceptor(s) |  | Print Name |  |  |  |  |  |  |  |  | Signature |  |  |  |  |  |  |
|  | M) Mandate Sign-Off: I am signing off this permit. I have removed tools, isolation equipment and materials of work for which I am responsible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mandate Acceptor(s) |  | Print Name |  |  |  |  |  |  |  |  | Signature |  |  |  |  |  |  |
|  | N) Mandate Cancellation ‘delete as appropriate’ This Mandate is cancelled. The work is / is not complete. The isolation/safety’/precautions and tools/persons have /have not been removed. Time:____________________ Date:____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The Authorised Person | Print Name |  |  |  |  |  |  |  |  |  | Signature |  |  |  |  |  |  |
|  | O) Return To Service I acknowledge that the work requested has been completed and that I have checked that all guarding/safety devices have been reinstated. Time:____________________ Date:____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |